## Slide 1: Simulations of Electron Detection Systematic Errors for a UCNA+ Experiment
Rashika Gupta
Date : April 16, 2023
APS – April 2023 meet
email : rashika.gupta@uky.du

## Slide 2: Angular Correlations
APS April 2023 R.Gupta 1

## Slide 3: Angular Correlations
polarization of initial neutron is known | 
Momentum of decay electron | 
 | 
 | 
1
APS April 2023 R.Gupta 2

## Slide 4: Angular Correlations
polarization of initial neutron is known | 
Momentum of decay electron | 
 | 
 | 
1
APS April 2023 R.Gupta 2

## Slide 5: From UCNA to UCNA +
Incorporate new silicon photomultiplier plastic scintillator readout
• Develop new precise calibration tools
Minimize and understand backscattering
precisely
- decreasing the fraction of electrons that are lost in the spectrometer
UCNA+ apparatus will try to reach ≤ 0.2%
Fig : Geant4 simulations representation for UCNA+ experiment
3
APS April 2023 R.Gupta 3

## Slide 6: From UCNA to UCNA +
UCNA+ apparatus will try to reach ≤ 0.2%
Fig : Geant4 simulations representation for UCNA+ experiment
3
APS April 2023 R.Gupta 4
UCNA+
Back-scattering correction to less than 10 %
Model different geometries
Direct measurements
Time of flight method
Fractional changes in the back-scattering
Notes: 0.2 % to match the pereko III precision and which would be pretty close.
ERROR BUDGET : in UCNA there was significant back-scattering. Need to model very precisely. Aimining for below 10% for the back-scattering correction.

## Slide 7
No MWPC as in UCNA
Fig : Geant4 simulations representation for base setup of UCNA+ experiment
4
UCNA + Geant4 setup
APS April 2023 R.Gupta 5
Fig : Geant4 simulations representation for base setup of UCNA+ experiment
Notes: This is the base setup
Check how the magentic field lines would look like

## Slide 8
Different configurations for scattering measurements
APS April 2023 R.Gupta 6
Endcap foils
- uniform field region
- field expansion region
Source holder foils
- Mylar of 0.5-micron thickness
- 6F-6F 0f 120 nm thickness,
- Graphite
Fig : Geant4 simulations representation for base setup of UCNA+ experiment

## Slide 9
Different configurations for scattering measurements
Bz
Bz
Bz
Bz
Bz
Bz
0- Foil
1- Foil
2- Foil
Fig : Geant4 simulations representation for UCNA+ experiment when there are 0, 1 and 2 foils respectively
placed in front of the detector at +z direction.
Foils :
sixFsixF (made of H, C, N, O, F) with fractional mass of (0.27g,0.48g,0.027g,0.054g,0.16g) of 130 nm thickness
Be coating of 120 nm thickness
APS April 2023 R.Gupta 7
Endcap foils
- uniform field region
- field expansion region
Source holder foils
- Mylar of 0.5-micron thickness
- 6F-6F 0f 120 nm thickness,
- Graphite

## Slide 10
Bz
Bz
Bz
Bz
Bz
Bz
0- Foil
1- Foil
2- Foil
Fig : Geant4 simulations representation for UCNA+ experiment when there are 0, 1 and 2 foils respectively placed in front of the detector at +z direction with the source holder at the center made of mylar of thickness 0.5 micron.
APS April 2023 R.Gupta 8
Different configurations for scattering measurements
Endcap foils
- uniform field region
- field expansion region
Source holder foils
- Mylar of 0.5-micron thickness
- 6F-6F 0f 120 nm thickness,
- Graphite

## Slide 11
Bz
Bz
Bz
Bz
Bz
Bz
0- Foil
1- Foil
2- Foil
Fig : Geant4 simulations representation for UCNA+ experiment when there are 0, 1 and 2 foils respectively placed in front of the detector at +z direction. with the source holder at the center made of sixFsixF of thickness 120 nm.
APS April 2023 R.Gupta 9
Different configurations for scattering measurements
Endcap foils
- uniform field region
- field expansion region
Source holder foils
- Mylar of 0.5-micron thickness
- 6F-6F 0f 120 nm thickness,
- Graphite
Notes: Get sixFsixfmaterial compositon

## Slide 12
Bz
Bz
Bz
Bz
Bz
Bz
0- Foil
1- Foil
2- Foil
Fig: The simulated spectra for electron conversion for 113Sn with different foil configurations of 0,1,2 foils with the source holder made of mylar
0- Foil
1- Foil
2- Foil
Geant4 simulations results for 113Sn electron conversion
Source holder : Mylar
APS April 2023 R.Gupta 10

## Slide 13
TYPE 0 : Direct Events
TYPE 1 : Backscattered Events
Fig: Schematic representation of differentiating between possible types of events as the direct or back-scattered events
5
Detector 1
(+z)
Detector 2
(-z)
Observe how the reconstructed energy spectra changes by varying the energy threshold of the detector 1 from 10 keV to 100 keV in the step-size of 10 keV for different geometries.
Classification of events
APS April 2023 R.Gupta 11

## Slide 14
UCNA+ simulation results for backscattering systematics
Change in ratios
Pitch angle distribution for back-scattered events
Change in average energy deposition with time of flight
APS April 2023 R.Gupta 12
Geant4 Version :
Physics model : standard model

## Slide 15
Change in ratios as a function of threshold on detector
Pitch angle distribution for back-scattered events
Change in average energy deposition with time of flight
Detector 1
(+z)
Detector 2
(-z)
Type 1,detector 1
Type 0,detector 1
UCNA+ simulation results for backscattering systematics
APS April 2023 R.Gupta 12

## Slide 16
Comparison of change in ratios
for different endcap foil configuration and different source holder with different threshold values
The ratio of the backscattering to direct event is ~ 1.8 %
Increases (decreases) with increase in number of foils for detector 1 (2)
The ratio comes closer with increase in the threshold value of the detector.
Fig : Geant4 simulations results for change in ratio of the back-scattered events to the direct events for the different foil configurations placed in front of the detector 1 along the +z axis. We compare the results for different source holder made of Mylar of thickness 0.5 micron and sixFsixF of thickness 120 nm for different detector threshold values
APS April 2023 R.Gupta 13
Notes: Mention the number of decays
Can measure 500 decays per sec

## Slide 17
Comparison of change in ratios
for different endcap foil configuration with different threshold values
source holder : Mylar
source holder : sixFsixF
Fig : Geant4 simulations results for change in ratio of the back-scattered events to the direct events for the different foil configurations placed in front of the detector 1 along the +z axis for different detector threshold values. We compare the results for different source holder made of Mylar of thickness 0.5 micron and sixFsixF of thickness 120 nm.
APS April 2023 R.Gupta 14

## Slide 18
Fig : Geant4 simulations results for change in ratio of the back-scattered events to the direct events for the different foil configurations placed in front of the detector 1 along the +z axis for different detector threshold values. We compare the results for different source holder made of Mylar of thickness 0.5 micron and sixFsixF of thickness 120 nm.
The ratio of the backscattering to direct event decreases by ~1% from 1.8 % to 1.7 % with increase in the threshold value
The ratios for detector 1 and 2 move apart more with increase in number of foils more so for sixFsixF.
Comparison of change in ratios
for different endcap foil configuration with different threshold values
APS April 2023 R.Gupta 15

## Slide 19
Change in ratios
Pitch angle distribution for back-scattered events
Change in average energy deposition with time of flight
along +z direction
UCNA+ simulation results for backscattering systematics
APS April 2023 R.Gupta 16

## Slide 20
Comparison of change in angular distribution
for different endcap foil configuration and different source holder with different threshold values
- 0-Foil
- 1-Foil
- 2-Foil
- 0-Foil
- 1-Foil
- 2-Foil
Back-scattering increases, as the pitch angle increases.
There is a finite probability for the electrons to be multi-scattered and, is more when the source holder is made of sixFsixF
Fig : Geant4 simulations results for change in pitch angle distribution for the back-scattered events that hit the detector 1 first. first . The analysis is done for the different foil configurations placed in front of the detector 1 along the +z axis for different detector threshold values. We compare the results for different source holder made of Mylar of thickness 0.5 micron and sixFsixF of thickness 120 nm.
APS April 2023 R.Gupta 17

## Slide 21
Change in ratios
Pitch angle distribution for back-scattered events
Change in average energy deposition with time of flight
E1
E2
UCNA+ simulation results for backscattering systematics
APS April 2023 R.Gupta 18

## Slide 22
Comparison of change in Eavg in the detector with time of flight
for different endcap foil configuration and different source holder with different threshold values
Eavg deposited in detector 1 (triggered first) increases with increase in time of flight from 25 ns – 125 ns after which it becomes roughly constant to 275 keV
Shift with 10%-20% for higher threshold values
Fig : Geant4 simulations results for change Eavg detector with the time of flight for the back-scattered events that hit the detector 1 first . The analysis is done for the different foil configurations placed in front of the detector 1 along the +z axis for different detector threshold values. We compare the results for different source holder made of Mylar of thickness 0.5 micron and sixFsixF of thickness 120 nm.
APS April 2023 R.Gupta 19
Notes: Coupled directly to multiscattering

## Slide 23
Comparison of change in Eavg in the detector with time of flight
for different endcap foil configuration and different source holder with different threshold values
Eavg deposited in detector 1 (triggered first) increases with increase in time of flight from 25 ns – 125 ns after which it becomes roughly constant to 275 keV
Shift with 10%-20% for higher threshold values
Fig : Geant4 simulations results for change Eavg detector with the time of flight for the back-scattered events that hit the detector 1 first . The analysis is done for the different foil configurations placed in front of the detector 1 along the +z axis for different detector threshold values. We compare the results for different source holder made of Mylar of thickness 0.5 micron and sixFsixF of thickness 120 nm.
APS April 2023 R.Gupta 19
Energy deposited in detector 1
Notes: Coupled directly to multiscattering

## Slide 24
Relation between time of flight and the pitch angle for Type 1 events
Fig : Geant4 simulations results for change in the pitch angle with the time of flight for the back-scattered events that hit the detector 1 first . The analysis is done for the different foil configurations placed in front of the detector 1 along the +z axis for different detector threshold values. We compare the results for different source holder made of Mylar of thickness 0.5 micron and sixFsixF of thickness 120 nm.
The pitch angle distribution becomes flatter with increase in threshold of the detector
Larger pitch angle corresponds to smaller time of flight indicating multiple back-scattering
APS April 2023 R.Gupta 20
Notes: Are small effects seek to measure below 10% precision levels

## Slide 25: SUMMARY
The ability to model integrated backscatter fractions for 1 and 2 decay trap foils and for two different foil thicknesses were investigated.
The pitch angle and energy distributions were explored using E vs. delta T (time of flight).
Absolute sensitivity of the measurements was probed using threshold scaling.
This material is based upon work supported by the U.S. Department of Energy, Office of Science, Office of Nuclear Physics, under Award Number DE-SC0 014622
APS April 2023 R.Gupta
Future Work
Test physics models with Geant4.
Investigate events when foils are placed in field expansion region.
Explore source energy selection.
Notes: Can have one set of measurements using 0.5 micron

## Slide 26: Collaboration (from Maninder)
APS April 2023 R.Gupta

## Slide 27: BACK UP SLIDES

## Slide 28: Geant4 representation of the geometry
Fig : Geant4 simulations representation for UCNA+ experiment
3
APS April 2023 R.Gupta 4

## Slide 29
2 Rashika Gupta
TYPE 0 : Direct Events
TYPE 1 : Backscattered Events
Fig: Schematic representation of differentiating between possible types of events as the direct or back-scattered events
5
Detector 1
(+z)
Detector 2
(-z)
Classification of events

## Slide 30: Type 0 events
Fig: Schematic representation of type 0 events.
Classification of events

## Slide 31
Fig: Schematic representation of type 1 events.
Classification of events
Type 1 events

## Slide 32
Geant4 simulations results for 113Sn electron conversion
Bz
Bz
Bz
Bz
Bz
Bz

## Slide 33
Bz
Bz
Bz
Bz
Bz
Bz
0- Foil
1- Foil
2- Foil
Fig: The simulated spectra for electron conversion for 113Sn with different foil configurations of 0,1,2 foils with the source holder made of sixFsixF.
Geant4 simulations results for 113Sn electron conversion
Source holder : 6F-6F
APS April 2023 R.Gupta 10
0- Foil
1- Foil
2- Foil